Fieldbus Design Documentation

EtherCAT Communication

Reasoning:

EtherCAT (Ethernet for Control Automation Technology) was chosen as the fieldbus protocol due to its high-speed communication, real-time capabilities, and excellent synchronization. EtherCAT allows for fast and deterministic communication, crucial for real-time control in automation systems. Also taking into consideration Machina Lab’s preference for Beckhoff products, this would also guarantee seamless integration with PC based PLC.

Advantages:

- High-speed communication.

- Real-time capabilities.

- Daisy-chain topology simplifies wiring.

- TwinCAT System Manager supports all standard commercial field buses such as EtherCAT.

Integration of non-Field Sensors

Method: Non-field sensors like the Gems Pressure Switch and the Kuka KRC2 Controller are integrated into the EtherCAT network using EtherCAT communication modules. These modules enable these devices to communicate seamlessly within the EtherCAT network.

Advantages:

- Unified communication protocol for all devices.

- Simplified integration of different sensor types.

- Centralized control through the EtherCAT network.

Connector Choice

Connector Type:M8 4-pin Female Connector for EtherCAT communication.

Reasoning: M8 connectors are compact, suitable for industrial environments, and provide enough pins for EtherCAT communication. The 4-pin configuration aligns with EtherCAT requirements.

Advantages:

- Compact design.

- Suitable for industrial use.

- Standardized for EtherCAT compatibility.

Centralized Control with Kuka KRC2

Role of Kuka KRC2 Controller: The Kuka KRC2 Controller serves as a central control unit, receiving and processing information from all connected devices through EtherCAT communication.

Advantages:

- Centralized control simplifies system management.

- KRC2 Controller facilitates coordination between different devices.

- EtherCAT modules enable communication with various devices.

Considerations:

Real-time Requirements: EtherCAT's real-time capabilities are essential for applications where precise synchronization and rapid data exchange are critical, such as in robotics and automation.

Compatibility: Ensuring that all devices, including sensors and the Kuka KRC2 Controller, have EtherCAT-compatible communication modules to achieve seamless integration.

Topology: Adhering to the daisy-chain topology supported by EtherCAT to simplify cabling and enhance system reliability.

Future Expandability

Scalability: The design allows for easy scalability by adding more EtherCAT-compatible devices. The daisy-chain topology simplifies the addition of new devices without major modifications.

In summary, the design choices prioritize high-speed, real-time communication, centralized control through EtherCAT, seamless integration of different sensors, and considerations for scalability and future expandability. These choices aim to create a robust and efficient Fieldbus system suitable for industrial automation applications taking into consideration that TwinCAT and Beckhoff are being used as the main vendors for most projects.